## Instructions & Sub. Checklist
Instructions
2025 Design and Construction Features Form
| Project Name | Enter on Development Information | Project Number | 0
Instructions
1. The architectural entity with whom the owner and developer contracted with to provide architectural services will complete the form and obtain all required signatures for the certifications. 2. The project applicant will submit the completed and signed form with the proposal application and this form must be coordinated with the OHFA Scope of Work form. 3. If funded, the project applicant will complete and submit the form again at final application with all changes from what was submitted at proposal application clearly identified. 4. A copy of the final, completed form must also be included in the 80% percent plan sets, copied onto the page(s) following the cover sheet, submitted at final application.
Both a signed PDF and the excel file are required for submission.
|  |  |  | All communications related to the architectural review, including submission of architectural plans, must be sent to | arch@ohiohome.org
Provide an answer for all sections, do not skip or leave blank any question. Use the "Not Applicable" (N/A) option if a question does not apply to your project. Use the following color-code to determine your response type:
Unrestricted answer
Drop-down or other restricted answer. Do not leave blank, select N/A.
Formula, auto-populate, or other locked cell
Formula, auto-populate, blank, or other unlocked cell where overriding the formula is allowable but very unlikely
Submission Requirements Checklist
Prelim. | Final
The completed, signed Certification.
The completed excel file of the DCF form.
Scope of Work form. (must also be completed at 8609)
Exception Request form(s), if applicable.
Asbestos, mold, lead-based paint considerations as required.
Items required to be completed per Phase I or II Environmental Site Assessment, or per applicable Environmental Review performed by OHFA.
Drawings/Plans, which must include all of the following:
Cover sheet with name of development, development address, development team, drawing index, code information, and table indicating unit schedule (including accessible, adaptable and sensory impaired units), types and sizes
Site plan
§ including adjacent parcel information (e.g. zoning, roads, railroad tracks, etc.) | Including adjacent parcel information (e.g. zoning, roads, railroad tracks, etc.)
· clearly show the context of the neighborhood that the property will exist | · clearly show the context of the neighborhood that the property will exist
§ all site details, and parking data and layouts | All site details, and parking data and layouts
Landscape intent | Landscape intent
Landscape intent | Demolition Plan
Description of historic features (adaptive reuse & historic rehabs) | Historic features (adaptive reuse & historic rehabs) including description at preliminary and plans at final
Dimensioned floor plans with preliminary including room designations and proposed finishes
Exterior elevations with material notations | Exterior elevations with material notations
Exterior elevations with material notations | Interior elevations with material notations (casework, PGB and MR gypsum board locations, etc.)
Schematic Drawings and/or specifications for HVAC, plumbing, and electrical or similar items included in the scope of work.
Wall sections (if applicable)
Exterior elevations with material notations | Structure (if applicable)
Exterior elevations with material notations | Finishes and schedules
Exterior elevations with material notations | Details
Mechanical Plans (recommended to submit schematic or description of mechanical at preliminary submission)
§ including adjacent parcel information (e.g. zoning, roads, railroad tracks, etc.) | Drawings must have a dimensioned plumbing plan and control points located for rough-in site verification. All pipes-through-floor and the walls they are intended to be located within must be dimensioned relative to the foundation where they must align with walls and/or islands above.
§ including adjacent parcel information (e.g. zoning, roads, railroad tracks, etc.) | OHFA strongly encourages a surveyor to locate wall and through-slab pipe penetrations. Foundation over dig must be filled with insulation or forms and then back filled
Prelim. | Final
Electronic format (pdf)
Single PDF file for drawings including all site plans, dimensioned floor plans, elevations, wall sections, structure, finishes, details and mechanical plans.
Separate PDF file for specifications. (no hard copy)
Electronic format (AutoCAD)
Dimensioned floor plans only, submitted in DXF or DWG AutoCAD R-14 format.
- Required to include the project architect’s polylines used for the area calculations as required by BOMA.
- If drawings are externally referenced (xref), submissions must be bound (xbind) prior to creating files for OHFA.
- Proprietary authorship information such as title blocks, Architecture seals, etc. should be removed.
- DXF should be generated from the base file and not a plan sheet file.
Hard copy
Full set of architectural plans, 11”x17" scaled to fit. Full-size architectural plans will be rejected.
- Do not submit printed set of specifications set with the drawings

## Development Information (DI)
Development Information
2025 Design and Construction Features Form
| Project Name | Enter on Development Information |  |  | Project Number | 0
Basic Project Information |  |  |  |  | Project Narrative
Project Name
OHFA Project Number
LIHTC Type
List other OHFA sources
Address
City or Township
Zip Code
County
Construction Type
Rehab Level (if applicable)
Population Served
Number of Buildings
Project Architect*
General Contractor
Lead Developer
* May use a Certified Engineer
Design Exception Request Summary
|  | Total Number of Design Exceptions Requested: | 0
Provide the total number of exceptions for each category.
0 | New Construction:
|  | Non-OHFA Requirement |  | Special Consideration |  |  | Supply Chain Issues
0 | Rehabilitation or Adaptive Reuse:
|  | Universal Design |  | Accessiblity |  |  | Replace items with 75%+ RUL
|  | Durable Materials - Exterior |  | Main Entry |  |  | Outdoor Recreational Features
|  | Sidewalks |  | Durable Materials - Interior |  |  | Major Building Components
|  | Common Areas |  | Elevators |  |  | Interior Doors
|  | Floor Coverings |  | Unit Sizes |  |  | Bedroom Sizes
|  | Bathrooms |  | Kitchen & Appliances |  |  | Laundry Facilities
|  | Supply Chain Issues |  | Other:
List of Exceptions Requested:
Summarize each exception requested with a short phrase (1-5 words each).
Wage Rate Requirements
If federal or state funds are utilized in the proposed development, select any regulations that apply to the proposed development.
Davis Bacon and related acts:
Davis Bacon Act prevailing wage provisions apply to contractors and subcontractors performing on federally funded or assisted contracts in excess of $2,000 for construction, alteration or repair (including painting and decorating of public buildings or public works).
Ohio Prevailing Wage:
Ohio's prevailing wage laws apply to all public improvements financed in whole or in part by public funds when the total overal project cost is fairely estimated to be more than $200,000 for new construction or $60,000 for reconstruction, enlargement, alteration, repair, remodeling, renovation, or painting.
HUD Section 3 Requirements:
HUD Section 3 is a provision of the Housing and Urban Development (HUD) Act of 1968 requiring that recipients of certain HUD financial assistance, to the greatest extent feasible, provide job training, employment, and contracting opportunities for low- or very low-income residents in connection with projects and public works.
None of the above are applicable
Sustainability
Are all energy efficiency requirements as stated in the Ohio Building Code or Residential Code?
Yes, Development will meet all energy efficiency requirements as stated in the Ohio Building Code or Residental Code.
No.
Third Party Certification selected:
Must specify full name of certification being sought. Exception requests must clearly articulate why the selected certification is equivalent or better to the three certifications.
Enterprise Green Communities Certification or EGC Plus Certification
LEED Residential - Silver Level Certification or higher
National Green Building Standard (NGBS) - Silver Level Certification or higher
With Energy Star Homes or Energy Star MFNC compliance verified by a HERS rater
| Exception for: |  |  |  | list the certification being selected.
HERS Rater (organization): | [5 empty] | Phone:
Email:
Note on D15: Applicants may find the city or township in the linked Census Bureau Geocoding Web site. Enter the site address (approximate if the address has not been established) and select "Get Results". Scroll to "County Subdivision". Copy the "Name" field here. If the project site is in multiple cities or townships, use the city or township with most LIHTC units.

## Project Contacts
Contact Information
2025 Design and Construction Features Form
| Project Name | Enter on Development Information | Project Number | 0
Project Contacts
Project Architect or Certified Engineer Information
Name: |  | Enter on Project Information
Address: |  |  | Contact Name:
City: |  |  | Title:
County: |  |  | Telephone Number:
State: |  |  | Cell Phone Number:
Zip Code + 4: |  |  | E-Mail Address:
General Contractor Information
Name: |  | Enter on Project Information
Address: |  |  | Contact Name:
City: |  |  | Title:
County: |  |  | Telephone Number:
State: |  |  | Cell Phone Number:
Zip Code + 4: |  |  | E-Mail Address:
Lead Developer Information
Name: |  | Enter on Project Information
Address: |  |  | Contact Name:
City: |  |  | Title:
County: |  |  | Telephone Number:
State: |  |  | Cell Phone Number:
Zip Code + 4: |  |  | E-Mail Address:
Co-Developer Information (if applicable)
Name:
Address: |  |  | Contact Name:
City: |  |  | Title:
County: |  |  | Telephone Number:
State: |  |  | Cell Phone Number:
Zip Code + 4: |  |  | E-Mail Address:
Co-Developer 2 Information (if applicable)
Name:
Address: |  |  | Contact Name:
City: |  |  | Title:
County: |  |  | Telephone Number:
State: |  |  | Cell Phone Number:
Zip Code + 4: |  |  | E-Mail Address:
Development Consultant Information (if applicable)
Name:
Address: |  |  | Contact Name:
City: |  |  | Title:
County: |  |  | Telephone Number:
State: |  |  | Cell Phone Number:
Zip Code + 4: |  |  | E-Mail Address:
Historic Consultant Information (if applicable)
Name:
Address: |  |  | Contact Name:
City: |  |  | Title:
County: |  |  | Telephone Number:
State: |  |  | Cell Phone Number:
Zip Code + 4: |  |  | E-Mail Address:
Note on G15: This is the organizational contact that will have direct contact with OHFA if questions regarding the project arise during the application, architectural review, and through construction.
Note on G25: This is the organizational contact that will have direct contact with OHFA if questions regarding the project arise during the application, architectural review, and through construction.
Note on G35: This is the organizational contact that will have direct contact with OHFA if questions regarding the project arise during the application, architectural review, and through construction.
Note on G45: This is the organizational contact that will have direct contact with OHFA if questions regarding the project arise during the application, architectural review, and through construction.
Note on G55: This is the organizational contact that will have direct contact with OHFA if questions arise during the application and reservation process.
Note on G65: This is the organizational contact that will have direct contact with OHFA if questions regarding the project arise during the application, architectural review, and through construction.
Note on G75: This is the organizational contact that will have direct contact with OHFA if questions regarding the project arise during the application, architectural review, and through construction.

## Amenities & SOW Summary
Amenities & Scope of Work Summary | [6 empty] | All greyed (dark) out cells are pulling from the Development Information & Contacts. Please complete that tab first.
2025 Design and Construction Features Form
| Project Name | Enter on Development Information |  | Project Number | 0
Amentities
Amentities listed below are not required, and any amentities that are part of the project design must be identified below. Those required for competitive criteria are identified separately.
| Athletic Field |  | Counseling Room(s) | Indoor Play Area |  | Security Gate(s) |  | Structural: Concrete, Masonry, Metals
| Basketball Court |  | Covered Mailboxes | Laundry Room(s) |  | Service Coordinator Office |  | Thermal and Moisture Protection
| Bike Racks |  | Day Care | Media/Library Room |  | Splash Pads |  | Conveying Equipment (elevators)
| Bicycle Storage |  | Dog Park(s) | Outdoor Exercise Area |  | Swimming Pool |  | Fire Suppression
| Clubhouse |  | Exercise Room(s) | Patio(s) |  | Water Features |  | Plumbing
| Community Building |  | Exterior Tenant Storage | Playground Area(s) |  | Walking Paths |  | Heating, Ventilating, and Air Conditioning (HVAC)
| Community Room(s) |  | Garage(s) | Raised Garden Beds |  | Wellness Center |  | Electrical, Communications, Electronic Safety and Security
| Computer Room(s) |  | Gazebo/Pavilion | Security Alarm System |  |  |  | Earthwork, Exterior Improvements
Utilities
List any additional features that are included to benefit the population being served. | [7 empty] | NA (Rehab A only)
Design-Related Competitive Criteria (for 9% LIHTC)
Select the items below that the development is seeking competitive points for under the 2024 QAP.
| Property-wide Wi-Fi (no cost to residents) |  |  | A minimum 400 sqft. Outdoor patio area for residents that is at least 50% covered
| Energy Star-certified washer and dryer in all units |  |  | An outdoor playground area (new affordablity - general & preserved affordability)
| Energy Star-certified dishwasher in all units |  |  | Roll-in showers in at least 50% of the total units (new affordability - senior)
Exercise Room
Scope of Work Summary
Must also submit the Scope of Work Excel Workbook, available under the forms of the program webpage.
Provide an overview of the proposed improvements to be made involving site design, building design, mechanical and electrical systems and building components including building exterior, interior, and life safety items.
Address any issues raised in the Phase I Environmental Site Assessment (ESA) report(s) in the space provided below. Include information for all single-site and scattered-site proposals, as required by applicable program funding guidelines.
Additional Scope Information for Rehabs & Adaptive Reuse
For any developments involving acquisition and rehabilitation or adaptive reuse, provide a narrative describing the history of improvements made to the building(s) and/or units.
For any developments proposing adaptive reuse or rehabilitation with historic tax credits, specify any restrictions or requirements that will be used to determine compliance with the Ohio Historic Preservation Tax Credit and/or Federal Historic Preservation Tax Credit programs.
|  | Construction Type | Enter on DI tab | Major Building System 1
|  | Rehab Level (if applicable) | Enter on DI tab | Major Building System 2
Address any issues raised in the Physical Capital Needs Assessment (PCNA) and Scope of Work report(s) in the space provided below. Include information for all developments proposing rehabilitation of existing units or the adaptive reuse of a building at proposal submission, especially where the scope of work and PCNA do not agree. The description must identify and quantify work included for each selected Major Building System and coordinated with the Scope of Work form.

## Develop. & Floor Area Details
Development Details & Floor Area Details
2025 Design and Construction Features Form
| Project Name | Enter on Development Information |  |  | Project Number | 0
All greyed (dark) out cells are pulling from the Development Information & Contacts. Please complete that tab first.
Development Details
Number of sites: | [5 empty] | Number of buildings that includes commerical space:
Site Acreage:
Number of residential buildings: | [6 empty] | Number of Units:
Number of accessory buildings: | [5 empty] | efficiency
one-bedroom
Total Number of units: | [5 empty] | two bedroom
Low-income Units: | [5 empty] | three-bedroom
four bedroom
Date built:
For proposals involving acquisition/rehabilitation or adaptive reuse, please specify the year the building(s) were originally constructed. For multiple building proposals, a range of dates may be provided.
Date first occupied:
Year development was or will be occupied. For multiple building proposals or scattered site projects, a range of dates may be provided.
List detrimental land uses sufficiently close to impair residents’ use. Include remedy addressing the land use.
List building/zoning variances, and identify if requested, pending or received:
Floor Area Details
Total Number of Low Income Units |  |  | Enter Above |  |  |  |  | The following items should not be included in any of the square footages: • Trash enclosures • Concrete patios without roofs • Sidewalks
| Space |  | GSF |  |  | Notes
Gross Square Footage of all Buildings |  |  |  | Measures from exterior face of exterior building; includes structured exterior spaces (stair, balcony, portico).
Commercial Space Condominium Areas |  |  |  | Legally separate space under control of another program or condominimized legal separation.
Commercial Areas and Fee-Driven Space |  |  |  | Includes spaces for which residents must pay a fee for use/access (garages, storage, etc.)
Market Rate Unit Area |  |  |  | Must include lofts, mezzanine and restricted headroom areas
Low Income Unit Area |  |  |  | Must include lofts, mezzanine and restricted headroom areas
Manager's Unit Area |  |  |  | Must include lofts, mezzanine and restricted headroom areas
Common Area (Public) |  |  |  | Public restrooms, community rooms, libaries, offices, meeting rooms, kitchens, car canopy, portico, fitness rooms, laundry, mailboxes.
Common Area (Circulation) |  |  |  | Public hallways, stairways, and corridors to residential units.
Dedicated Program Space |  |  |  | Counseling space, wellness and health clinic, day care centers, etc.
Limited Common Area (Private) |  |  |  | Exterior spaces with access only through residential unit, i.e. balcony/porch/deck (patios without roof are not included).
Support |  |  |  | Electrical, mechanical, elevator room, sprinkler room, janitorial, trash, maintenance, storage that is not for tenant use, free-standing maintenance buildings.
Tenant Storage |  |  |  | Tenant storage outside of unit.
Major Vertical Penetrations |  |  |  | Includes duct shafts, stair shaft, elevator shaft, space open to below
Structured Parking/Garage |  |  |  | Attached or detached garage that residents do not pay a fee for.
Basement |  |  |  | Includes spaces with a minimum of 7' clear head height. Spaces less than 7' clear head space are crawl spaces per RCO 305.
TOTALS
Non Low-income Floor Area |  |  | complete GSF | Commercial Space Condo Areas + Commercial Areas + Market Rate Unit Area
Low Income Floor Area |  |  | complete GSF | LI Unit Area + Common Area (Circulation) + Limited Common Area (Private) + Tenant Storage
% Common Area |  |  | complete GSF | Common Area (Public) + Common Area (Circulation) / Gross Square Footage
Net Rentable Square Footage |  |  | complete GSF | Gross Square Footage - Non Low-Income Floor Area
Average net Rentable SQFT per LI Unit |  |  | complete GSF | Net Rentable Square Footage / Total Number of Low-Income Units

## Adaptability & Accessibility
Accessibility Information
2025 Design and Construction Features Form
| Project Name | Enter on Development Information |  |  | Project Number | 0
All greyed (dark) out cells are pulling from the Development Information & Contacts. Please complete that tab first.
Adaptability & Accessibility
All developments must comply with all accessibility requirements as outlined in the Ohio Building Code, chapter 4101:1-11 for the design and construction of accessible project features, including site, common areas and units.
Yes, the project will comply with the accessibility requirements as outlined in the Ohio Building Code.
No.
Verify that the project will be designed and constructed to meet the requirements of the Fair Housing Act and that all units, other than the accessible units, will be designed and constructed as ANSI Type B units.
Yes, the project will be designed and constructed to meet the requirements of the Fair Housing Act and all units, other than the accessible units, will be designed and constructed as ANSI Type B units.
No.
504 Accessiblity
All developments receiving OHFA funding must meet the accessibility requirements of Section 504. Identify the implementing standard the development will utilize to demonstrate compliance with Section 504 requirements (select one)
Uniform Federal Accessibility Standards (UFAS)
2010 ADA Standards for Accessible Design under Title II of the ADA, except for certain specific identified provisions, as detailed in HUD’s Notice on “Instructions for use of alternative accessibility standard,” published in the Federal Register on May 23, 2014 (“Deeming Notice").
An equivalent standard as defined in HUD’s Deeming Notice (such as ICC/ANSI A117.1-2009 with OEBC 2024 or ICC/ANSI A117.1-2017 with ICC/OCB 2024), specify:
|  |  | Required | Provided
|  | 504 Mobility Units*: |  |  |  | Number of accessible parking spaces:
504 Sensory Units:
* Providing twice the number that is federally mandated under Section 504 as accessible for persons with mobility disabilities. To calculate the number of 504-mobility units needed to meet this threshold standard, first multiply the total number of units by 5%, roundup to the nearest whole unit, and multiply the result by two.
Accessiblity Exception Requests (adaptive reuse or rehabiliation only)
Exception(s) Reqested for technical infeasiblity of full compliance with 504 accessiblity. (adaptive reuse or rehabiliation only)
| Yes, |  | Number of non-conforming accessible units:
No.
N/A.
Please provide a summary for the reason there is technical infeasibility. Each exception request must provide details that identify and quantify the technical infeasiblity with supporting documentation and drawings.

## Universal Design
Universal Design Information
2025 Design and Construction Features Form
| Project Name | Enter on Development Information |  | Project Number | 0
All greyed (dark) out cells are pulling from the Development Information & Contacts. Please complete that tab first.
Universal Design Components
Select all of the below items that will be included in the development. Refer to the Design and Architectural Standards that are effective at the time application. Mandatory items are marked with an R, please identify "exception" under "page or note" if an exception was requested for the item. Exceptions for mandatory items must include two non-mandatory items.
Additionally, specify the architectural page reference, or if it will be covered by a general/universal plan note, mark “Note”.
Entry
Included? | Page or Note | Item
R |  | 36”-wide (minimum) entry door
|  | - | On rehab/adaptative reuse only, not required on all units if infeasibility can be proven
R |  | Entry door with lever-style handle
R |  | For primary entrance, minimum 5’ x 5’ level clear space inside and outside entry door
R |  | Adequate non-glare lighting at walkways, accessible routes, and exterior spaces
R |  | Adequate lighting both inside and outside the building and unit entrance
R |  | High visibility address numbers (both building and exterior units)
R |  | Overhead weather protection at entrances
|  | - | On rehab/adaptative reuse only, not required on all units if infeasibility can be proven
Built-in shelf/bench/ledge located outside the door
Nonslip surfaces on walkways and entryways
Primary unit entry with an accessible/dual peephole and backlit doorbell
Door locks that are easy to operate, such as keyless locks with remote control or keypad
No-step entry (1/2” or less threshold) at main entrance
Interior Stairs and Hallways
Included? | Page or Note | Item
R |  | Adequate lighting to illuminate all stairway(s), landings, and hallway(s)
R |  | Hallways with a minimum width of 42”
R |  | Anti-slip strips on front edge of steps in color-contrast material
Color contrast between stair treads and risers
Handrails on both sides of interior stairs
Interior Doors
Included? | Page or Note | Item
R |  | 34”-wide (minimum) doors leading to habitable room, allowing for a 32” minimum clearance
R |  | Lever-style door hardware on all interior doors
R |  | Interior maximum door threshold of ¼ inch beveled or flush
Pocket doors with easy-to-grip handles
Faucets
Included? | Page or Note | Item
R |  | Anti-scald faucets with lever handle for all sinks, bathtubs, and showers
R |  | Pressure balanced faucets
Electrical
Included? | Page or Note | Item
R |  | Thermostat and control panels that are easy to read and simple to operate
R |  | Rocker, touch light, or hands-free switches
R |  | Extra electrical outlets (for medical equipment or rechargeable items, etc.) placed 18″ to 24″ above finished floor (bedroom only)
Lighted switches visible in the dark
Switched outlets for lamps, etc. to be turned on with wall switch
Electrical outlets, phone jacks, and data ports at least 18” above finished floor
Light switches between 44”-48” above finished floor; thermostats no more than 48” above finished floor
Clear access space of 30” by 48” in front of switches, outlets, and controls
Audible and visual alarms for smoke/fire/carbon monoxide in all code-required accessible areas and all units
Bathrooms
Included? | Page or Note | Item
R |  | Countertops with beveled/radiused corners. Outside corners are suggested to be a two-inch corner radius, waterfall edge with oneinch radius, or two-inch chamfer.
R |  | Adjustable-height showerhead (articulated arm or similar) or hand-held showerhead with flexible hose and easily operable controls
R |  | Non-glare lighting at vanities
A full- or half-bath on the main floor with clear floor space of 30” x 48”
Overhead light fixture in tub/shower
Mirror(s) placed for both standing and sitting, such as a full-length or tilting mirror
Toilet centered at least 18” from any side wall, tub, or cabinet
In at least one bathroom per unit, including the following:
|  | - | Low-threshold or curbless shower at least 5’ x 3’ OR ADA bathtub with seat
|  | - | Clear knee space (at least 27” high) under sink. May be open knee space or achieved by means of removable vanity or fold-back or self-storing doors. Pipe protection panels must be provided to prevent contact with hot or sharp surfaces.
|  | - | Grab bars, or wall-blocking for future installation of grab bars, in tub/shower, and toilet. Grab bars must be properly anchored and supported.
Kitchens
Included? | Page or Note | Item
R |  | At least 15” clear space/”landing zone” on each side of stove and sink, and at least one side of refrigerator. This is countertop clear space and may be shared with another appliance and/or required work surface if applicable.
R |  | Loop handles on drawers and cabinets
R |  | Non-glare task lighting to illuminate sink, stove, and work areas
Adjustable height shelves in wall cabinets
Base cabinets with pull out drawers
Pull-out work surface near the oven, refrigerator and/or microwave
Visual contrast at front edge of countertop or between the countertop and the cabinets
Side-by-side refrigerator-freezer
Cooktop/range with front or side-mounted controls (senior units only)
Extra outlets for small appliances, electronics, etc.
Clear knee space (at least 27” high) under sink, counters, and/or cook tops. If under sink, pipes must have protection and may not be in the required knee space. May be open knee space or achieved by means of removable base cabinets or fold-back or self-storing doors.
Closets
Included? | Page or Note | Item
Area is well-lit with a switch located outside the space
Doors and handles that are easy to operate. No bi-fold or accordion-type doors
Adjustable-height shelving and/or closet rods OR clothes rods installed at multiple heights
Pull out-shelves, rollout cabinets, and other easy to access storage components

## Certifications
Certifications
2025 Design and Construction Features Form
| Project Name | Enter on Development Information | Project Number | 0
Certifications
We represent, warrant and certify to OHFA that the following does and will apply to the proposed development:
The Development will be designed and constructed to meet the requirements of all applicable laws, codes, program guidelines, as well as the OHFA Design and Architectural Standards and specific features applicable to the project as outlined in this form. This includes any and all local, state, or federal accessibility laws that currently exist and apply to the project. Any additional cost of construction required for the Development to be in compliance with any of these laws has been included in the development budget.
By signing this document, the owner, architect, and general contractor certify that the plans, specifications, and features submitted as part of this application will become a minimum standard for the proposed development. This hereby becomes a binding agreement for the actual construction intent if the development is awarded OHFA funding.By signing this document, the owner, architect, and general contractor certify that the plans, specifications, and features submitted as part of this application will become a minimum standard for the proposed development. This hereby becomes a binding agreement for the actual construction intent if the development is awarded OHFA funding.
OHFA does not take responsibility for design, construction, and plan review or any other municipal or building department review or approval and in no way does this agreement supersede any requirement by such jurisdictions.
OHFA reserves the right to verify compliance with agreed-upon features including durability of materials, accessibility, universal design, green building requirements and energy efficiency components.
1. Architect or Professional Engineer
I certify that the plans, specifications, and scope of work for the Development meet, and will continue to meet, any and all requirements including those set forth in this form, the OHFA Design and Architectural Standards, and all other applicable laws, codes, program guidelines or policy documents.
I understand that I am contractually obligated to know the federal, state and local accessibility laws applicable to the Development and have applied them accordingly. To the best of my professional knowledge and belief, I agree that the Development as designed is in compliance with all applicable federal, state and local housing and accessibility laws and regulations.
| Authorized Signatory |  | Date
| Print Name (Authorized Signatory) |  | Title
| Organization |  | Registration Number
2. General Contractor
I certify that I have reviewed the plans, specifications, and scope of work for the Development and that the Development will be constructed in accordance with any and all requirements as set forth in this form, the OHFA Design and Architectural Standards, and all other applicable laws, codes, program guidelines or policy documents.
I understand that I am obligated to know the federal, state and local accessibility laws applicable to the Development and will build the project accordingly.
| Authorized Signatory |  | Date
| Print Name (Authorized Signatory) |  | Title
Organization
3. Owner
I certify that I have reviewed the plans, specifications, and scope of work for the Development and that the Development shall be constructed in accordance with any and all requirements as set forth in this form, OHFA Design and Architectural Standards, and all other applicable laws, codes, program guidelines or policy documents.
The undersigned understands that any deviations from federal and state accessibility requirements are the responsibility of the Owner and, as such, Owner is responsible for such deviations.
Further, if for any reason, the features are not constructed in accordance with the requirements set forth above, the undersigned understands that OHFA may revoke or recapture the Development’s funding and/or limit or prohibit the future participation of the undersigned, any subsidiaries or related entities in OHFA programs.
| Authorized Signatory |  | Date
| Print Name (Authorized Signatory) |  | Title
Organization